SECTION 072600

SELF-ADHERING ROOF AIR BARRIER AND VAPOR RETARDER MEMBRANE FOR LOW-SLOPE ASSEMBLIES

PART 1 - GENERAL

SUMMARY

Section includes self-adhered, roof air barrier and vapor retarder membrane for use in the roofing system at locations required by the contract documents.

REFERENCE STANDARDS

The American Association of Textile Chemists and Colorists (AATCC) - Test Method for Water Resistance: Hydrostatic Pressure Test.

American Society of Civil Engineers: ASCE 7 - Minimum Design Loads for Buildings and Other Structures.

ASTM International (ASTM):

ASTM D95 - Standard Test Method for Water in Petroleum Products and Bituminous Materials by Distillation.

ASTM D146 - Standard Test Methods for Sampling and Testing Bitumen-Saturated Felts and Woven Fabrics for Roofing and Waterproofing

ASTM D228 - Standard Test Methods for Sampling, Testing, and Analysis of Asphalt Roll Roofing, Cap Sheets, and Shingles Used in Roofing and Waterproofing.

ASTM D412 - Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers - Tension

ASTM D903 - Standard Test Method for Peel or Stripping Strength of Adhesive Bonds.

ASTM D1079 - Standard Terminology Relating to Roofing and Waterproofing

      - ASTM D1204 - Standard Test Method for Linear Dimensional Changes of Nonrigid Thermoplastic Sheeting or Film at Elevated Temperature

ASTM D1876 - Standard Test Method for Peel Resistance of Adhesives (T-Peel Test).

ASTM D1970 - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing for Ice-Dam Protection.

ASTM D4073 - Standard Test Method for Tensile-Tear Strength of Bituminous Roofing Membranes.

ASTM D2523 - Standard Practice for Testing Load-Strain Properties of Roofing Membranes.

ASTM D4977 - Standard Test Method for Granule Adhesion to Mineral-Surfaced Roofing by Abrasion

ASTM D4998 - Standard Test Method for Evaluating Wear Characteristics of Tractor Hydraulic Fluids

- ASTM D5147 - Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material.

ASTM D5636 - Standard Test Method for Low-Temperature Unrolling of Felt or Sheet Roofing and Waterproofing Materials

ASTM D5869 - Standard Practice for Dark Oven Heat Exposure of Roofing and Waterproofing Materials

ASTM D7349 - Standard Test Method for Determining the Capability of Roofing and Waterproofing Materials to Seal around Fastener.

ASTM E84 - Test Method for Surface Burning Characteristics of Building Materials.

ASTM E96 - Standard Test Methods for Gravimetric Determination of Water Vapor Transmission Rate of Materials

ASTM E177 - Standard Practice for Use of the Terms Precision and Bias in ASTM Test Methods

ASTM E691 - Standard Practice for Conducting an Interlaboratory Study to Determine the Precision of a Test Method

ASTM E2178 - Standard Test Method for Air Permeance of Building Materials.

PREINSTALLATION CONFERENCE

Preinstallation Meeting: Schedule and conduct preinstallation meeting at the Project site not less than two weeks before beginning installation.

Meeting attendees to include Contractor, Architect and their envelope consultant (if one); Installer; and representatives from all subcontractors and trades whose work must integrate with self-adhered membrane materials.

Review approved submittals and requirements for Project mockups.

Review installation requirements, substrate requirements, special details, bond testing, and protection of the installed membrane.

COORDINATION

Coordinate installation of self-adhered air-barrier and vapor retarder membrane assemblies with other roofing work, including flashings and trim, and other adjoining work to provide a watertight and secure installation

SUBMITTALS

Product Data: For self-adhered, roof air barrier and vapor retarder membrane

Shop Drawings: For roof air barrier and vapor retarder membranes.

Show locations and extent of roof air barrier and vapor retarder membrane. Include project-specific details of treatment of substrate joints, flashing conditions, penetrations, corner conditions, terminations, and tie-ins with adjacent construction.

Include details of interfaces with other materials that are part of the building's air-barrier assemblies.

Manufacturer's Installation Instructions: Include manufacturer's instructions for evaluating and preparing substrates, and installation instructions for roof air barrier, vapor retarder membrane and accessories.

Manufacturers Sample Warranty

Field quality-control reports.

DELIVERY, STORAGE AND HANDLING

Deliver materials to the Project site in the manufacturer's original, undamaged packaging, with intact labels indicating the contents.

Store materials on end in accordance with the manufacturer's written instructions. Protect materials from direct sunlight and weather until ready for use.

FIELD CONDITIONS

Weather Limitations: Proceed with installation only when existing and forecasted weather conditions are within ranges recommended in writing by the manufacturer.

Protect substrates from conditions that affect the installation or performance of roof air barrier and vapor retarder membrane materials.

Do not install roof air barrier and vapor retarder membrane materials to damp or wet substrates or during snow, rain, fog, or mist.

Membrane may be exposed up to 180 days.

PERFORMANCE REQUIREMENTS

** NOTE TO SPECIFIER ** Delete design requirements from the list below that are not actually required by the text of the edited section.

Exterior Fire Test Exposure: Roof system shall achieve a FM or UL Class rating for roof slopes indicated as follows:

FM Approvals Class A Rating.

Underwriters Laboratory Class A Rating.

Wind Uplift Rating: Roof system shall have been tested in compliance with the following codes and test requirements:

Florida FBC (For use outside Miami-Dade and Broward Counties):

Membrane Systems FL 46829

FM Approvals:

RoofNav Website: RoofNav Assembly #:

Note to Specifier: Reference Florida Building Code File #: or RoofNav database to identify wind uplift ratings

Test Method for Surface Burning Characteristics: Roof system shall have been tested in compliance with the following codes and test requirements:

Flame Spread Index: 5 or less

Smoke Developed Index: 45 or less

WARRANTY

Provide the manufacturer’s standard warranty, in which the manufacturer agrees to replace the roof air barrier and vapor retarder membrane that exhibits failures in material within the specified warranty period.

Warranty Period: Twenty (20) years from the date of Substantial Completion.

PART 2 - PRODUCTS

SOURCE LIMITATIONS

Obtain self-adhered, roof air barrier and vapor retarder membrane from a single manufacturer. Obtain accessory materials from the manufacturer of the roof air barrier and vapor retarder membrane or from manufacturers acceptable in writing to the roof air barrier and vapor retarder membrane manufacturer.

SELF-ADHERING ROOF AIR BARRIER AND VAPOR RETARDER MEMBRANE

Roof air barrier and vapor retarder membrane: Slip-resistant, self-adhered, roof air barrier and vapor retarder membrane fabricated from spun-bonded polyester fabric with proprietary coatings on both surfaces and pressure-sensitive adhesive with release film on the back side.

Basis-of-Design Product: Subject to compliance with requirements, provide the following:

VaproShield LLC; BlockShield SA Plus.

Physical Properties:

Thickness: 10.2 mils (0.26 mm) nominal.

Color: White.

UV Exposure Resistance: Can be exposed to sunlight for 180 days.

Performance Properties:

- ASTM D1970: Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection

- ASTM D5147: Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material

Air Permeance: Maximum 0.00912 L/s•m2 @ 75 Pa (0.0018 cfm/ft2 @ 1.57 psf); ASTM E2178.

Water Vapor Transmission: Maximum 0.0173 Perm (grain/h•ft2•inchHg) (0.992 ng/Pa•s•m2) @23°C 0-50%RH; ASTM E96, Desiccant Method.

Water Vapor Transmission: Maximum 0.0193 Perm (grain/h•ft2•inchHg) (1.10 ng/Pa•s•m2) @23°C 0-50%RH;

Tensile Strength: MD – 16.96 MPa (2460 psi), XMD – 11.87 MPa (1721 psi); ASTM D412.

Elongation:

- ** NOTE TO SPECIFIER ** - Select the appropriate test method and remove all others not applicable.

MD 314%, XMD 180%; ASTM D2523.

MD 649%, XMD 556%; ASTM D5147.

Tear Strength:

- ** NOTE TO SPECIFIER ** - Select the appropriate test method and remove all others not applicable.

MD: 182 N (41 lbf), XMD: 151 N (34 lbf); ASTM D4073

MD - 43, XMD – 36; ASTM D5147

Nail Sealability: Pass; ASTM D1970 Section 7.9 ASTM D7349.

ACCESSORY MATERIALS

Transition and Flashing Membrane: Self-adhered transition and flashing membrane.

Basis-of-Design Product: Subject to compliance with the manufacturer's written requirements, provide the following:

VaproShield LLC; BlockFlashing

VaproShield LLC; BlockShield SA Plus

Liquid Flashing: Liquid-applied flashing.

Basis-of-Design Product: Subject to compliance with the manufacturer's written requirements, provide the following:

VaproShield LLC; VaproLiqui-Flash.

Liquid Flashing for Aberrant Penetrations: Liquid-applied, modified silicone sealant.

Basis-of-Design Product: Subject to compliance with the manufacturer's written requirements, provide the following:

VaproShield LLC; VaproBond.

Penetration Sealant: Liquid-applied sealant for penetrations.

Basis-of-Design Product: Subject to compliance with the manufacturer's written requirements, provide one of the following:

VaproShield LLC; VaproBond.

VaproShield LLC; VaproLiqui-Flash.

- EXECUTION

EXAMINATION

Examine substrates and installation conditions, with the Installer present, for compliance with the manufacturer's requirements and other conditions that could affect installation or performance of the roof air barrier and vapor retarder membrane.

Verify that substrates are clean, sound, and free of oil, grease, dirt, or other contaminants or materials that could be detrimental to adhesion.

Verify that substrates are visibly dry and free of moisture.

Verify that fasteners used to secure roof sheathing or other substrate materials are not projecting from the surface of substrates.

Verify that penetrating items are securely and firmly installed.

Verify adhesion of the self-adhered, roof air barrier and vapor retarder to the substrate is adequate and suitable for performance requirements.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Treat and seal cracks and joints in the substrate in accordance with the manufacturer's written instructions and details.

At changes of plane of substrates, apply transition roof membranes, sealants, or other accessory materials in accordance with the manufacturer's written instructions and details.

Bridge isolation joints and discontinuous deck to wall or deck to deck joints with accessory materials that accommodate movement in accordance with the manufacturer's written instructions and details.

INSTALLATION OF ROOF AIR BARRIER and VAPOR RETARDER MEMBRANE

Install materials in accordance with the membrane manufacturer's written instructions and details to properly seal with adjacent construction and ensure continuity of the air and water barrier.

Prepare, treat, and seal inside and outside corners, valleys, terminations, and penetrations in accordance with the manufacturer's written instructions and details.

Install self-adhered, roof air barrier and vapor retarder membrane.

Install the membrane flat, in full contact with the substrates, and free from wrinkles or fish-mouths.

Lap sides and ends as recommended in writing by the manufacturer, but not less than 3 inches (76 mm) for side and end laps, and cover laps with the manufacturer's detailing tape.

Where joints occur at corner locations, lap inside and outside corners as recommended in writing by the manufacturer, but not less than 6 inches (152 mm).

Stagger end laps between courses at least 36 inches (914 mm).

Immediately after installation of roof air barrier and vapor retarder membrane, fully roll the installed membrane with a minimum 70 lbs weighted roller consistent with the manufacturer’s installation instructions to ensure positive contact and adhesion with the substrate.

Transition Conditions:

Treat tie-ins of roof air barrier and vapor retarder membrane to structural elements, parapets, curbs, roofing systems, and adjoining materials in accordance with the membrane manufacturer's written instructions and details.

Install transitions and flashings

Immediately after installation, roll self-adhering transitions and flashings in accordance with the manufacturer's written instructions to ensure positive contact and adhesion onto the substrate.

Openings: Install flashing and transition membranes at roof curbs, roof hatches, skylights, and other penetrating items and openings in accordance with the manufacturer's written instructions and details. Install flashing membranes in shingled fashion and firmly roll membranes after installation to ensure proper adhesion.

Horizontal Applications: Install roof air barrier and vapor retarder membrane aligned with the lowest point of the roof. Install with extra material sufficient for tie-ins and proper interfaces with adjoining materials. Install subsequent courses in shingle fashion to ensure proper drainage of water from the membrane surface.

PROTECTION

Protect the installed roof air barrier and vapor retarder membrane in accordance with the manufacturer's written instructions during subsequent construction activities to protect membranes from damage due to construction activities, high wind conditions, and extended exposure to inclement weather.

Inspect and repair all damaged areas of the roof air barrier and vapor retarder membrane before installation of the finished roofing system.

END OF SECTION 072600